## Sheet1
HEC-HMS inlet definitions |  |  |  | average inlets per location: | 2.5 | capacity per inlet: | 1.8 | MGD | blockage | 30 | %
Location | GIS inlet count | total capacity (MGD) | HEC-HMS max flow (cfs) | notes
loc-MM1 | 20 | 300 | 464.169 | OSH Assume little or no runoff based on obs, record drawings.
in-MM1 | 0 | 0 | 0 | not necessary location, covered at loc-MM1
loc-MM7 | 54 | 170.1 | 263.1838
loc-z2 | 32 | 300 | 464.169 | OSH Assume little or no runoff based on obs, record drawings.
in-z2 | 47 | 148.05 | 229.0674
loc-z1 | 63 | 198.45 | 307.0478 | subtracted in-z2 and in-z1
in-z1 | 10 | 31.5 | 48.7377
loc-aa4 | 15 | 47.25 | 73.1066
loc-MM8 | 6 | 18.9 | 29.2426
in-MM8 | 0 | 0 | 0 | no inlets at that intersection
loc-MSF1 | 0 | 300 | 464.169 | McMillan. Assumed no runoff
inl-MSF1 | 4 | 12.6 | 19.4951
loc-AA3MM | 9 | 28.35 | 43.864 | subtracted in-MSF1 and in-aa3MM
in-aa3MM | 15 | 47.25 | 73.1066
in-aa5 | 21 | 66.15 | 102.3493
loc-aa5 | 0 | 0 | 0 | not necessary location, covered at in-aa5
loc-MM2a | 50 | 300 | 464.169 | OSH Includes private. Assume little or no runoff.
in-MM2a | 0 | 0 | 0 | not necessary, covered at loc-MM2a
loc-MM3 | 3 | 9.45 | 14.6213
loc-MM6 | 5 | 15.75 | 24.3689 | no inlets in subshed
loc-MM2b | 24 | 75.6 | 116.9706 | Assume little or no runoff based on obs, record drawings. All 3x barrel inlets
in-MM6 | 32 | 100.8 | 155.9608
loc-MSF2 | 4 | 12.6 | 19.4951
loc-MM4 | 5 | 15.75 | 24.3689 | subtracted in-MM5
in-MM5 | 9 | 28.35 | 43.864
loc-MM5 | 3 | 9.45 | 14.6213
in-MSF2 | 0 | 300 | 464.169 | McMillan. Assumed no runoff
loc-aa2 | 0 | 0 | 0 | subtracted in-aa2
in-aa2 | 10 | 31.5 | 48.7377
total | 441 inlets | 2567.9 MGD | 3973.1 cfs